## Sheet1
Danz Model |  |  |  | RAINWATER CATCHMENT
Pink #s can be user changed for what if read out
1 | Cathment area = footprint of foundation for each house area
|  | A = 40'x 16 |  |  | 5000
B = 20' x 12'
C = 16' x 44'
|  | Total Area |  |  | 5000 | sq. ft.
2 | Water Demand Daily use averages for average number in house
|  | Number of Users |  |  | 5
|  | Average Daily Use per person = |  |  | 50
|  | Average total daily use of household |  |  | 250
|  | Conservation usage per person |  |  | 30
|  | Monthly average use (30 days) |  |  | 7500
|  | Conservation total per day |  |  | 150
Prime drought time 3 months
|  | [always have this in reserve] |  | Fire | 4000
3 | Potential Rain Harvest (per in. of rainfall)
|  | Sq. ft of Catchment Area = |  |  | 5000
|  | Gallons per cu. ft of rainfall |  |  | 7.48
|  | For every inch of rainfall |  |  | 3116.6667
|  | For every 12 inches of rain |  |  | 37400
4 | Actual Harvest per in of rainfall
|  | efficiency factor of .75 |  |  | 2337.5
|  | actual per ft of rainfall |  |  | 28050
5 | Average Rainfall for 10 yrs on this site |  |  |  | 48
add 10 yrs and average
6 | Potential Total Annual Rain Harvest |  |  |  | 149600
| ActualRainfall Harvest |  |  |  | 112200
7 | Annual Average Need or Use |  |  |  | 91250
|  | Conservation Usage Total |  |  | 54750
|  | Average Shortage/surplus (-) |  |  | -58350
|  | Conservation Shortage/Surplus |  |  | -94850
8 | Storage Required |  | 10 yr Aver |  | Monthly Har | In Storage/End Mo. | Aver Use Cons
| MODEL | Assumed start storage volume |  |  | Start | 15000 | 4500
| YEAR #1 | Jan | 5 |  | 15583.3333 | 26083.3333 | 4500
|  | Feb | 4 |  | 12466.6667 | 34050 | 4500
|  | Mar | 5 |  | 15583.3333 | 45133.3333 | 4500
|  | Apr | 5 |  | 15583.3333 | 56216.6667 | 4500
|  | May | 4 |  | 12466.6667 | 64183.3333 | 4500
|  | Jun | 2 |  | 6233.3333 | 65916.6667 | 4500
|  | Jul | 3 |  | 9350 | 70766.6667 | 4500
|  | Aug | 3 |  | 9350 | 75616.6667 | 4500
|  | Sep | 4 |  | 12466.6667 | 83583.3333 | 4500
|  | Oct | 3 |  | 9350 | 88433.3333 | 4500
|  | Nov | 4 |  | 12466.6667 | 96400 | 4500
|  | Dec | 6 |  | 18700 | 110600 | 4500
|  | Total | 48 |  | 149600 |  | 54000
|  |  |  | x.75 | 112200
9 | Recommend 8 x 2000 gallon capacity concrete tanks in or above ground with food grade
epoxy liners and caps all plumbed to one pump with roof washers on each tank from
each roof catchment area.
10 | Filtration is silt and carbon and crypto for whole house.
Rainfall per mo
| Storage Required |  | 10 yr Aver |  | Monthly Har | In Storage/End Mo. | Aver Use Cons
| MODEL | Assumed start storage volume |  |  | Start | 110600 | 4500
| YEAR #2 | Jan | 5 |  | 15583.3333 | 121683.3333 | 4500
|  | Feb | 4 |  | 12466.6667 | 129650 | 4500
|  | Mar | 5 |  | 15583.3333 | 140733.3333 | 4500
|  | Apr | 5 |  | 15583.3333 | 151816.6667 | 4500
|  | May | 4 |  | 12466.6667 | 159783.3333 | 4500
|  | Jun | 2 |  | 6233.3333 | 161516.6667 | 4500
|  | Jul | 3 |  | 9350 | 166366.6667 | 4500
|  | Aug | 3 |  | 9350 | 171216.6667 | 4500
|  | Sep | 4 |  | 12466.6667 | 179183.3333 | 4500
|  | Oct | 3 |  | 9350 | 184033.3333 | 4500
|  | Nov | 4 |  | 12466.6667 | 192000 | 4500
|  | Dec | 6 |  | 18700 | 206200 | 4500
|  | Total | 48 |  | 149600 |  | 54000
|  |  |  | x.75 | 112200
A
B
C